Roxbury Sanitary District

Minutes:     Monday 9-9-24    6:00 pm—Roxbury Town Hall

Present:  Lamberty, Ballweg,  MSA: Kreshel, Terry

1.	Roll call

2.	Determination of quorum & proper posting of meeting

3.	Minutes

Motion to approve by Ballweg, 2nd Lamberty.  Pass unanimous

4.	Public comment

5.  	MSA Residential Equivalent Units (REU) discussion

MSA analyzed flows relevant to commercial usage

Review of other district REU policy

Will gather more info about rectory and school

6.	Operator report

Phosphorus/Ammonia/Flows with in usual limits

Weed problem at TP beds

Waiting on DNR for permit approval

Investigate electric primary feed conduit connection

7.	Sec Report

8.	Adjourn

Gail Lamberty

Sec / Treasurer